| Section 1: Administrative information |
| --- |
| 1.1 | Corresponding competent authority |
| a | Name of receiving national competent authority |
| b | EUDAMED number of NCA |
| c | Reference number assigned by NCA for this incident |
| d | Reference number assigned by EDAMED for this incident |
| 1.2 | Date, type, and classification of incident report |
| a | Date of submission | b | Date of incident | c | Manufacutrer awareness date |
| d | Type of report Initial Follow up Combined initial and final Final (Reportable incident) Final (Non-repotable incident) |
| e | In case of initial and follow-up reports, please indicate the expected date of the next report |
| f | Classification of incident Serious public health threat Death Unaticipated serious deterioration in state of health |
| 1.3 | Submitter information |
| 1.3.1 | Submitter of the report |
| a | Manufacturer Authorised representative Other, please specify |
| b | Manufacturer’s reference number for this incident |
| c | if this incident involves mutiple devices from the same manufacturer, please list the respective reference numbers of the other MIR forms you have submitted - NCA’s local reference number - EDAMED’s reference number - Manufacturer’s reference number |
| d | If this incident is covered under an FSCA, please provide the relevant numbers: - NCA’s local FSCA reference number - EUDAMED’s FSCA reference number - Manufactuerer’s FSCA reference number |
| e | Periodic Summary Report (PSR) ID |
| f | If the incident occurred within a PMCF/ PMPF investigation; please provide the EUDAMED ID of that PMCF/ PMPF investigation |

| 1.3.2 | Manufacturer information |
| --- | --- |
| a | Manufacturer organisation name |
| b | Single registration number |
| c | Contact’s first name | d | Contact’s last name |
| e | Email | f | Phone |
| g | Country |
| h | Street | i | Street Number |
| j | Address complement | k | PO Box |
| l | City Name | m | Postal code |
| 1.3.3 | Authorised representative information |
| a | Authorised representative organisation name |
| b | Single Registration Number |
| c | Contact’s first name | d | Contact’s last name |
| e | Email | f | Phone |
| g | Country |
| h | Street | i | Street number |
| j | Adress complement | k | PO Box |
| l | City name | m | Postal code |
| 1.3.4 | Submitter’s details if not also manufacturer or authorised representative |
| a | Registered commercial name of company |
| b | Contact’s first name | c | Contact’s last name |
| d | Email | e | Phone |
| f | Country |
| g | Street | h | Street number |
| i | Adress complement | j | PO Box |
| k | City name | l | Postal code |

| Section 2: Medical device information |
| --- |
| 2.1 | Unique Device Identification (UDI) |
| a | UDI device identifier/Eudamed ID | b | UDI production identifier |
| c | Basis UDI-DI/Eudamed-DI | d | Unit of use UDI-DI |
| 2.2 | Categorisation of device |
| a | Medical device terminology EMDN GMDN UMDNS(ECRI) GIVD/EMS Other, please specify |
| b | Medical device nomenclature code |
| 2.3 | Description of device and commercial information |
| a | Medical device name (brand/trade/proprietary or common name) |
| b | Nomenclature text/Description of the device and ist intended use |
| c | Model | d | Catalogue/reference number |
| e | Serial number | f | Lot/batch number |
| g | Software version | h | Firmware version |
| i | Device maufacturing date | j | Device expiry date |
| k | Date when device was implanted | l | Date when device was explanted |
| m | if precise implant/explant dates are unknown, provide the duration of implantation Number of years Number of months Number of days |
| n | Implant facility | o | Explant facility |
| p | Notified body (NB) ID number(s) Notified body (NB) certificate number(s) of device 1 2 |
| q | Please indicate the date of one of the following: First declaration of the conformity The device first CE marked First placed on the market First put into service If software, date first made available Year Month |

| 2.4 | Risk class of decive when placed on market |
| --- | --- |
| a | This device has been plaxed on the market before the implementation oft he MDD/ AIMDD/ IVDD |
| b | MDD/AIMDD active implant class III class IIb class IIa class I class Is class Im class Ism custom-made | IVDD IVD Annex II List A IVD Annex II List B IVD devices for self-testing IVD general |
| c | MDR class III class IIb class IIa class I | Type (Multiple Choice) implantable active device intended to administer and(or remove a medivinal product sterile conditions measuring function reusable surgical instruments software systems procedure packs custom-made non-medical purpose | IVDR class D class C class B class A | Type (Multiple Choice) self-testing near-patient testing professional testing companion diagnostic reagent software instrument sterile conditions |
| 2.5 | Market distribution of device (region/ country) (according to the best knowledge of the manufacturer) |
| a | All EEA, Schwitzerland and Turkey AT BE BG CH CY CZ DE DK EE ES FI FR GB GR HR HU IE IS IT LI LT LU LV MT NL NO PL PT RO SE SI SK TR Others: |
| 2.6 | Use of accessories, associated devices or other devices |
| a | Relevant accessories used with the device being reported on (please list with corresponding Manufacturer if different from device being reported on) |
| b | Relevant associated devices used with the device bein reported on (please list with corresponding Manufactuerer if different from device being reported on) |

| Section 3: Incident information derived from healtcare professional/facility/patien/lay user/other |
| --- |
| 3.1 | Nature of incident |
| a | Provide a comprehensive description of the incident, including (1) what went wrong with the device (if applicable) and (2) a description oft he health effects (if applicable), i.e. clinical signs, symptoms, conditions as well as the overall health impact (i.e. Death; life-threatening; hospitalization- initial or prolonged; required intervention to prevent permanent damage; disability or permanent damage; congential anomaly/Birth defects; indirect harm; no serious outcome) |
| 3.2 | Medical device problem information |
| a | IMDRF Medical device problem codes (Annex A) Coding with IMDRF terms is a mandatory requirement. Choice 1 (most relevant) Choice 2 Choice 3 Choice 4 Choice 5 Choice 6 IMDRF `Medical device problem codes` Code Code Code Code Code Code If you think the incident is unique and a suitable IMDRF term is missing, briefly explain: |
| b | Number of patients involved |
| c | What ist he current location of the device? Healthcare facility/carer Distributor Patient/user Discarded In transit to manufacturer Remains implanted Manufacturer Unknown Other: |
| d | Operator of device at the time oft he incident Healthcare professional Patient/lay user Other, please describe |
| e | Usage of device (as intended) Initial use Reuse of a single use medical device Reuse of a reusable medical device Re-serviced/refurbished/fully refurbished Problem noted prior use Other: |
| f | Remedial actions taken by healthcare facility, patient or user subsequent to the incident |

| 3.3 | Patient information |
| --- | --- |
| a | IMDRF ‚Health Effect‘ terms and codes (Annex E,F) Coding with IMDRF terms is a mandatory requirement. Choice 1 (most relevant) Choice 2 Choice 3 Choice 4 Choice 5 Choice 6 IMDRF ‚Clinical signs, symptoms, and conditions codes‘ (Annex E) Code Code Code Code Code Code IMDRF ‚Health impact‘ codes (Annex F) Code Code Code Code Code Code If you think the incident is unique and a suitable IMDRF term is missing, briefly explain: |
| b | Age of patient at the thime oft he incident years months days |
| c | Gender Female Male Unknown Not applicable |
| d | Body weight (kg) |
| e | List any of the patient’s prior health condition or medication that may be relevant to this incident |
| 3.4 | Initial reporter (can be healthcare professional of facility, patient, lay user) |
| a | Role of initial reporter Healthcare professional Patient Lay user Other, please specify |
| b | Name of healthcare facility where incident occurred |
| c | Healthcare facility report number (if applicable) |
| d | Contact’s first name | e | Contact’s last name |
| f | Email | g | Phone |
| h | Country |
| i | Street | j | Street number |
| k | Adress complement | l | PO Box |
| m | City name | n | Postal code |

| Section 4: Manufacturer analysis |
| --- |
| 4.1 | Manufacturer’s preliminary comments |
| a | For initial and follow-up reports; preliminary results and conclusions of manufacturer’s investigation |
| b | Initial actions (corrective and/or preventive) implemented by the manufacturer |
| c | What further investigations do you intend in view of reaching final conclusions? |
| 4.2 | Cause investigation and conclusion |
| a | For Final (Reportable incident): Description of the manufacturer’s evaluation concering possible root causes/causative factors and conclusion |
| b | For Final (Non-reportable incident): Fill out rationale for why this is considered not reportable |
| c | Is root cause confirmed? Yes No |
| d | Has the risk assessment been reviewed? Yes No If ‚No‘, rationale for no review required: If the risk assessment has been reviewed, is it still adequate? Yes No Results of the assessment: |

| e | IMDRF ‚Cause Investigation‘ terms and codes (Annex B, C, D) Coding with IMDRF terms is a mandatory requirement. Choice 1 (most relevant) Choice 2 Choice 3 Choice 4 Choice 5 Choice 6 Choice 7 Choice 8 IMDRF Cause investigation: Type of investigation (Annex B) Code Code Code Code Code Code Code Code IMDRF Cause investigation: Investigation findings (Annex C) Code Code Code Code Code Code IMDRF Cause investigation: Investigation conclusion (Annex D) Code Code Code Code Code Code If you think the incident is unique and a suitable IMDRF term is missing, briefly explain: |
| --- | --- |
| f | IMDRF Component codes (Annex G) Coding with IMDRF terms is a mandatory requirement. Choice 1 (most relevant) Choice 2 Choice 3 Choice 4 Choice 5 Choice 6 IMDRF ‚Component‘ codes (Annex G) Code Code Code Code Code Code If you think the incident is unique and a suitable IMDRF term is missing, briefly explain: |
| g | Description of remedial action/correcitve action/preventive action/field safet correctirve action (FSCA) (For a FSCA, fill in the FSCA form) |
| h | Time schedule fort he implementation oft he identified actions |
| i | Final comments from the manufacturer on cause investigation and conclusion |

| 4.2 | Cause investigation and conclusion |
| --- | --- |
| 4.3.1 | Use of IMDRF terms and codes for identifying similar incidents |
| a | Identification of similar incidents using IMDRF Adverse Event Reporting terms and codes Tick-mark which code or combination of codes were used for identifying similar incidents. Choice 1 IMDRF code relating to most relevant ‚Medical device problem‘ (Annex A) IMDRF code relating to most relevant ‚Investigation finding‘ (Annex C, ‚Cause Investigation‘) Other – enter description of what similar incidents are based on and the rationale why the above IMDRF codes were not used |
| 4.3.2 | Use of IMDRF terms and codes for identifying similar incidents |
| a | If similar incident were not identified by IMDRF codes but by in-house codes, please provide the codes and terms below. Choice 1 Code/term for most relevant medical device problem Code Term Code/term for most relevant root cause evaluation Code Term Other- enter description of what similar incidents are based on and the rationale why the above codes were not used |
| 4.3.3 | Number of similar incidents and devices on the market |
| a | Indicate on which basis similar incidents were identified regarding the device or device variant: Model Software Lot/Batch Product platform Other variant Details oft he selection made above |
| b | Indicate to what criteria the number of devices on the market (also known as denominator data) is based on (tick the most appropriate): Device placed on the market or put into service Units distributed within each time period Number of tests performed Number of episodes of use (for reusable devices) Active installed base Units distributed from the date of declaration of conformity/CE mark approval tot he end date of each time period Number of devices implanted Other –describe |

| c | Enter the number of similar incidents and devices on the market fort he indicated time periods You must use yearly time periods unless: A: a different period has been specified by the European vigliance Working Group B: the device has not been on the European market for more than three years Time period (N) Year to date = incident year Time period (N-1) calendar year one year bevor incident Time period (N-2) calendar year two years before incident Time period (N-3) calendar year three years before incident Start date End date Number of similar incidents Number of devices on market Number of similar incidents Number of devices on market Number of similar incidents Number of devices on market Number of similar incidents Number of devices on market Country of incident EEA + CH + TR World |
| --- | --- |
| d | Comments on how similar incidents and associated number of devices on the market were determined |

Section 5: General comments

|  | Coded summary of report (will be auto populated from previous selections) |
| --- | --- |
|  | Medical device name |
|  | Basic UDI-DI |  |
|  | UDI device identifier | UDI production identifier |
|  | IMDRF adverse event reporting terms and codes IMDRF=International Medical Device Regulators Forum. Coding with IMDRF terms is a mandatory requirement. IMDRF clinical signs, symptoms, conditions codes IMDRF health impact codes IMDRF Medival device problem codes IMDRF Component codes IMDRF Cause investigation: Type of investigation IMDRF Cause investigation: Investigation findings. IMDRF Cause investigation: Investigation conclusion. |

Submission of this report does not represent a conclusion by the manufacutrer and / or authorised representative or the national competent authority that the content of this report is completete or accurate, that the medical device(s) listed failed in any manner and/ or that the medical device(s) caused or contributed tot he alleged death or deterioration in the state oft he health of any person.

I affirm that the information give above is correct tot he best of my knowledgy

Date

Signature/ Digital Signature